## Datasets
TELLIE PCA datasets
Date	June 2017	March 2018	June 2018	Sept 2018	Dec 2018	Mar 2019	Dec 2019	May 2020
Mode	master	slave	slave	slave	slave	slave	slave	slave
Runs	101374	110264	114670	117578	201388	204401	253887	258566
2	101381	110266	114673	117580	201390	204403	253861	258568
3	101386	110268	114675	117582	201392	204409	253827	258570
4	101391	110269	114677	117584	201394	204411	253844
5	101404	110282	114679	117586	201396	204413	253897	258576
6	101410	110289	114681	117588	201398	204415	253855	258578
7	101414	110293	114683	117590	201401	204418	253882	258580
8	101498	110303	114685	117592	201403	204420	253925	258582
9	101500	110309	114687	117594	201405	204423	253825	258584
10	101502	110314	114689	117598	201407	204425	254035	258586
11	101505	110321	114691	117602	201409	204429	253847	258588
12	101509	110329	114693	117604	201411	204431	253803	258590
13	101512	110337	114695	117606	201413	204437	253938	258592
14	101515	110342	114697	117608	201415	204439	253821	258594
15	101528	110347	114699	117610	201417	204441	253815	258596
16	101530	110350	114701	117612	201419	204442	253865	258811
17	101533	110357	114703	117614	201421	204444	253829	258602
18	101537	110363	114705	117616	201423	204446	253875	258608
19	101543	110367	114707	117618	201425	204448	253805	258610
20	101548	110372	114709	117620	201427	204450	253857	258612
21	101553	110376	114711	117622	201432	204452	254007	258614
22	101558	110385	114713	117624	201434	204454	254027	258616
23	101560	110392	114715	117626	201436	204456	253823	258618
24	101564	110398	114717	117628	201438	204460	253832	258621
25	101567	110403	114720	117630	201440	204462	253929	258623
26	101570	110407	114722	117632	201442	204464	253957	258627
27	101579	110413	114724	117634	201444	204467	253951	258631
28	101705	110415	114726	117636	201446	204469	253911	258633
29	101717	110426	114728	117638	201448	204471	253895	258635
30	101721	110430	114730	117640	201450	204473	253901	258637
31	101726	110434	114732	117642	201452	204475	253867	258639
32	101730	110440	114734	117644	201454	204477	253849	258641
33	101735	110468	114736	117646	201456	204479	253842	258643
34	101740	110477	114738	117654	201462	204481	253863	258645
35	101745	110481	114740	117656	201464	204483	253808	258647
36	101749	110487	114742	117658	201466	204485	253871	258649
37	101756	110496	114744	117660	201468	204487	254009	258651
38	101759	110501	114746	117662	201470	204489	253940	258653
39	101763	110507	114748	117664	201473	204491	254013	258655
40	101771	110510	114750	117666	201475	204493	254015	258657
41	101774	110516	114752	117668	201477	204495	253903	258659
42	101780	110520	114754	117670	201479	204497	253989	258661
43	101787	110578	114756	117672	201481	204499	253893	258663
44	101793	110587	114787	117680	201483	204501	253985	258665
45	101795	110608	114789	117684	201493	204503	254011	258667
46	101799	110614	114794	117686	201504	204505	254005	258669
47	101806	110619	114796	117688	201506	204507	253837	258671
48	101809	110625	114798	117690	201508	204509	254046	258673
49	101811	110637	114800	117692	201510	204511	253885	258675
50	101815	110645	114802	117694	201512	204513	253835	258677
51	101819	110650	114804	117696	201514	204515	253907	258679
52	101822	110660	114806	117698	201516	204517	253947	258681
53	101824	110666	114808	117700	201518	204519	253889	258683
54	101827	110671	114810	117702	201520	204521	253899	258685
55	101831	110700	114812	117704	201522	204523	253811	258687
56	101834	110725	114817	117708	201524	204525	253869	258691
57	101839	110731	114819	117712	201526	204527	254037	258693
58	101842	110736	114821	117714	201528	204529	253983	258695
59	101845	110744	114824	117716	201530	204531	254017	258697
60	101849	110751	114826	117718	201532	204533	254001	258702
61	101852	110757	114828	117720	201534	204535	253996	258704
62	101889	110762	114830	117722	201538	204537	253920	258706
63	101892	110768	114832	117724	201540	204541	253981	258708
64	101895	110773	114834	117728	201542	204543	253964	258712
65	101898	110777	114836	117730	201544	204545	254031	258714
66	101903	110781	115672	117732	201546	204547	254019	258716
67	101905	110785	115674	117734	201548	204549	254003	258719
68	101910	110793	115676	117736	201550	204551	253961	258721
69	101913	110796	115678	117738	201552	204553	253927	258723
70	101915	110800	115682	117740	201554	204555	253916	258727
71	101929	110823	115684	117742	201557	204557	254025	258747
72	101933	110833	115686	117744	201559	204559	253942	258749
73	101944	110841	115688	117746	201561	204561	254033	258751
74	102157	110847	115690	117748	201565	204563	253934	258754
75	102161	110854	115692	117750	201567	204565	253966	258756
76	102165	110858	115694	117752	201569	204567	253998	258760
77	102168	110865	115696	117754	201571	204569	253931	258762
78	102178	110872	115707	117756	201573	204571	254052	258764
79	102183	110878	115711	117758	201575	204573	253959	258766
80	102260	110891	115713	117760	201577	204575	253922	258772
81	102264	110896	115716	117762	201579	204577	253936	258774
82	102268	110902	115718	117764	201581	204579	253973	258776
83	102274	110905	115722	117766	201583	204581	253880	258778
84	102278	110910	115725	117768	201585	204583	253968	258780
85	102281	110932	115728	117770	201587	204585	253905	258782
86	102286	110964	115730	117772	201589	204589	254023	258784
87	102290	110972	115732	117774	201591	204593	254029	258787
88	102293	110997	115738	117776	201595	204595	253955	258793
89	102296	111022	115740	117779	201597	204597	253971	258797
90	102300	111033	115742	117782	201602	204599	253977	258799
91	102304	111036	115744	117784	201606	204601	253979	258801
92	102306	111042	115746	117786	201611	204605	253913	258803
93	102310	111044	115749	117788	201613		253909	258805
94	102313	111050	115751	117790	201617		253987	258807
95	102315	111058	115753	117792	201620		253949	258809

## TELLIE PCA - May 2020
Aim: Collect PCA dataset (42 nHit), / running in SLAVE MODE					Pulse rate [Hz]	Pulse number	Trigger delay [ns]
					1000	200000	900
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Shifter Comments		Nearline Comments
1	FT001A	12	258566	4490	44	Nhit up ~3 nhit in actual run, stable though
2	FT002A	19	258568	7451	40
3	FT003A	35	258570	6952	~40	Very unstable (MTC server also died after first go)
4	FT004A	55		7680		Even more unstable, couldn't find an IPW that was stable at 40 nhit
5	FT005A	15	258576	8105	40
6	FT006A	14	258578	7890	42	Drifted nhit a little
7	FT007A	23	258580	7697	41
8	FT008A	9	258582	7200	40
9	FT009A	3	258584	8150	40
10	FT010A	17	258586	7018	43
11	FT011A	24	258588	7173	???	lol nope
12	FT012A	50	258590	5980	41
13	FT013A	47	258592	8090	42
14	FT014A	33	258594	4638	~41	Not the most stable
15	FT015A	4	258596	6100	41
16	FT016A	11	258811	5590	~39	Retry as first time round wasn't stable
17	FT017A	32	258602	10900	40
18	FT018A	48	258608	6050	41	We got there in the end
19	FT019A	6	258610	5983	40
20	FT020A	20	258612	8650	42
21	FT021A	2	258614	6175	39ish	Started off fine but nhit dropped over time then returned to normal			258814	<- retake which I thought was bad but nearline said it was okay?
22	FT022A	34	258616	6015	40
23	FT023A	16	258618	6575	41
24	FT024A	31	258621	5920	40	Subrun 9 of first run got the dreaded PIN error... reran
25	FT025A	56	258623	6875	41
26	FT028A	36	258627	8425	40-44	A little drifty
27	FT027A	18	258631	6895	40-50	I don't like this channel, it's a creeper
28	FT067A	83	258633	5770	37
29	FT029A	7	258635	5590	35-50	Not great
30	FT030A	49	258637	6590	42
31	FT031A	1	258639	8205	39
32	FT032A	53	258641	6340	41
33	FT033A	43	258643	5820	42	Nhit dipped a bit
34	FT034A	29	258645	7180	40	IPW shift by 2000
35	FT035A	5	258647	6475	41	creeped up to 45 by end of run
36	FT036A	54	258649	7970	41
37	FT037A	30	258651	8155	40
38	FT038A	41	258653	8920	39
39	FT039A	85	258655	6812	41
40	FT040A	51	258657	7040	39
41	FT041A	93	258659	7977	42
42	FT042A	28	258661	7557	41
43	FT043A	92	258663	5762	41
44	FT044A	70	258665	5692	42
45	FT045A	62	258667	7850	umm	Unstable, and it was unstable last time too so not going to waste time trying again
46	FT046A	80	258669	8655	40
47	FT101A	8	258671	6912	42
48	FT048A	69	258673	8900	41
49	FT049A	25	258675	6403	40
50	FT050A	77	258677	5555	42
51	FT051A	74	258679	7268	40
52	FT052A	81	258681	6800	40
53	FT053A	13	258683	5680	40
54	FT054A	38	258685	5882	40
55	FT055A	72	258687	7380	42
56	FT056A	52	258691	8525	42	fibre had warm up effect, second time round was better but slight drift
57	FT057A	95	258693	8820	41
58	FT058A	27	258695	8505	42
59	FT059A	88	258697	8735	43/41	both runs as good/bad as eachother... first peaked at 48 nhit, second was 41 avg but dropped to 36			<- flat map is fun for this one
60	FT060A	26	258702	6030	43	subrun 11 of 258701 had PIN reading error
61	FT061A	79	258704	6170	40
62	FT062A	68	258706	6160	40
63	FT063A	64	258708	5705	40
64	FT064A	75	258712	7710	43	this one had a cool down effect :O
65	FT065A	84	258714	6270	40
66	FT066A	89	258716	9600	40
67	FT094A	82	258719	8130	40	subrun 37 of 258718 missed pin reading
68	FT068A	78	258721	6550	40-17	yikes
69	FT069A	90	258723	7950	40	Nhit dropped at end of first go, couldn't get it stable after this
70	FT070A	91	258727	6715	40	Last one 02/05/2020
71	FT071A	63	258747	6398	41	First one 03/05/2020
72	FT072A	58	258749	7533	41
73	FT073A	44	258751	6990	41
74	FT074A	94	258754	6100	37-43	Drifted a lot, took this channel twice - nt sure which one is best so have both, you lucky analyser
75	FT075A	42	258756	6627	41
76	FT076A	61	258760	6440	39-45	drifter
77	FT077A	76	258762	6903	40
78	FT078A	60	258764	6600	40-55	drifted a lot, not stable
79	FT079A	67	258766	6100	41
80	FT080A	46	258772	6828	36-40	This had warmup effect on two goes, then third had a 4 nhit drop around 50% through
81	FT081A	21	258774	6365	~39
82	FT082A	37	258776	8755	~42
83	FT083A	45	258778	6762	39
84	FT084A	39	258780	7547	41
85	FT085A	40	258782	8187	40
86	FT086A	59	258784	5530	40
87	FT087A	66	258787	8698	~41
88	FT088A	86	258793	9310	40-43	as good as that one will get
89	FT089A	71	258797	6135	41
90	FT090A	22	258799	6285	40
91	FT091A	87	258801	7700	40
92	FT092A	65	258803	5272	41
22	FT047B	73	258805	7305	~42	Not the most stable
28	FT026A	10	258807	8875	41
91	FT093A	57	258809	8975	40

## TELLIE PCA - Dec 2019
Aim: Collect PCA dataset (42 nHit), / running in SLAVE MODE					Pulse rate [Hz]	Pulse number	Trigger delay [ns]
					1000	200000	900
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Shifter Comments		Nearline Comments
1	FT001A	12	253803	4462	39	Still low IPW needed		Passed PCA processor
2	FT002A	19	253805	7480	43			Passed PCA processor
3	FT003A	35	253808	7060	20-75	Unstable		No pass (unsurprisingly)
4	FT004A	55	253811	7680	--	Unstable :(		No pass (unsurprisingly)
5	FT005A	15	253815	8066	41			Passed PCA processor
6	FT006A	14	253821	7890	44	Nhit went for some walks		Passed PCA processor
7	FT007A	23	253823	7645	41			Passed PCA processor
8	FT008A	9	253825	7180	41			Passed PCA processor
9	FT009A	3	253827	8263	42			Passed PCA processor
10	FT010A	17	253829	7125	42			Passed PCA processor
11	FT011A	24	253832	7173	--	Unstable		No pass (unsurprisingly)
12	FT012A	50	253835	5953	40	IPW setpoint shifted by ~3000		Passed PCA processor
13	FT013A	47	253837	7970	41			Passed PCA processor
14	FT014A	33	253842	4660	41	Light output dropped during run, a little unstable		841 and 842 Passed...
15	FT015A	4	253844	6065	42			Passed PCA processor
16	FT016A	11	253847	5670	41			Passed PCA processor
17	FT017A	32	253849	10900	41			Passed PCA processor
18	FT018A	48	254046	6050	~42	retaken		No pass
19	FT019A	6	253855	5955	41			Passed PCA processor
20	FT020A	20	253857	8605	42			Passed PCA processor
21	FT021A	2	253861	6005	~40	Not the most stable		No pass
22	FT022A	34	253863	5975	42			Passed PCA processor
23	FT023A	16	253865	6550	42			Passed PCA processor
24	FT024A	31	253867	5990	45			Passed PCA processor
25	FT025A	56	253869	6835	41			Passed PCA processor
26	FT028A	36	253871	8485	42-45
27	FT027A	18	253875	6895	41-42
28	FT067A	83	253880	5820	43
29	FT029A	7	253882	5590	???	Not great
30	FT030A	49	253885	6540	44-46
31	FT031A	1	253887	8185	42
32	FT032A	53	253889	6310	41
33	FT033A	43	253893	5730	40
34	FT034A	29	253895	9335	40	Setpoint shifted by ~2000
35	FT035A	5	253897	7185	40
36	FT036A	54	253899	7925	41
37	FT037A	30	253901	8247	42
38	FT038A	41	253903	8850	41
39	FT039A	85	253905	6790	40
40	FT040A	51	253907	7016	41
41	FT041A	93	253909	7930	42
42	FT042A	28	253911	7645	42
43	FT043A	92	253913	5740	41
44	FT044A	70	253916	5664	41
45	FT045A	62	253920	8113	--	Unstable
46	FT046A	80	253922	8620	41
47	FT101A	8	253925	6900	41
48	FT048A	69	253927	8870	40
49	FT049A	25	253929	6530	41	The old IPW gave 1.3k nhit
50	FT050A	77	253931	5520	39
51	FT051A	74	253934	7235	41
52	FT052A	81	253936	6763	41
53	FT053A	13	253938	5658	40-41
54	FT054A	38	253940	5840	41
55	FT055A	72	253942	7345	43	Michal taking over here!
56	FT056A	52	253947	8528	40	fibre experience the warm-up effect, started at 40 and slowly cramped up to ~70 NHit. reran with lower ipw and seems fine
57	FT057A	95	253949	8798	40
58	FT058A	27	253951	8610	42
59	FT059A	88	253955	8700	42
60	FT060A	26	253957	6130	41
61	FT061A	79	253959	6138	38
62	FT062A	68	253961	6118	44
63	FT063A	64	253964	5715	40
64	FT064A	75	253966	7784	40
65	FT065A	84	253968	6240	40
66	FT066A	89	253971	9545	40
67	FT094A	82	253973	8104	41
68	FT068A	78	254052	6550	?	joker fibre
69	FT069A	90	253977	7992	41
70	FT070A	91	253979	6672	41
71	FT071A	63	253981	6365	41
72	FT072A	58	253983	7463	40
73	FT073A	44	253985	6928	41
74	FT074A	94	253987	6100	42
75	FT075A	42	253989	6535	41
76	FT076A	61	253996	6420	39	weird looking xsnoed
77	FT077A	76	253998	6875	42
78	FT078A	60	254001	6600	~40	le drifter, quite some nhit range
79	FT079A	67	254003	6067	42
80	FT080A	46	254005	6706	~40
81	FT081A	21	254007	6332	43
82	FT082A	37	254009	8730	42
83	FT083A	45	254011	6670	42
84	FT084A	39	254013	7510	41
85	FT085A	40	254015	8170	41
86	FT086A	59	254017	5503	41
87	FT087A	66	254019	8660	~40	Nhit decays over time
88	FT088A	86	254023	9275	43
89	FT089A	71	254025	6118	41
90	FT090A	22	254027	6263	41
91	FT091A	87	254029	7658	41
92	FT092A	65	254031	5240	41
22	FT047B	73	254033	7290	42	holy the previous ipw was for 2k :O
28	FT026A	10	254035	8842	40
91	FT093A	57	254037	8922	42

## TELLIE PCA - June 2019
Aim: Collect PCA dataset (42 nHit), / running in SLAVE MODE					Pulse rate [Hz]	Pulse number	Trigger delay [ns]
					1000	200000	900
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Shifter Comments		Nearline Comments
1	FT001A	12	207208	4550	42	needed realy low ipw, may be a consequence of tuesday smashing with 7k nhit using this fibre. also weird line in xsnoed - have a look!
2	FT002A	19	207210	7480	42	similar but blurrier line present (not pca problem, just interesting)
3	FT003A	35	207215	7060	30-90	quite badly unstable :/ (80 nhit fluctuations)
4	FT004A	55	207217	7680	20-65	quite badly unstable :/ (45 nhit fluctuations)
5	FT005A	15		8210
6	FT006A	14		8150
7	FT007A	23		7800
8	FT008A	9		7317
9	FT009A	3		8263
10	FT010A	17		7125
11	FT011A	24		7173
12	FT012A	50		8810
13	FT013A	47		8200
14	FT014A	33		4908
15	FT015A	4		6200
16	FT016A	11		5870
17	FT017A	32		10833
18	FT018A	48		6192
19	FT019A	6		6076
20	FT020A	20		8788
21	FT021A	2		6350
22	FT022A	34		6115
23	FT023A	16		6427
24	FT024A	31		6236
25	FT025A	56		6950
26	FT028A	36		8730
27	FT027A	18		7092
28	FT067A	83		5820
29	FT029A	7		5962
30	FT030A	49		6592
31	FT031A	1		8225
32	FT032A	53		6407
33	FT033A	43		6045
34	FT034A	29		9335
35	FT035A	5		7185
36	FT036A	54		8058
37	FT037A	30		8324
38	FT038A	41		8964
39	FT039A	85		6908
40	FT040A	51		7065
41	FT041A	93		8100
42	FT042A	28		7618
43	FT043A	92		5844
44	FT044A	70		5793
45	FT045A	62		8113
46	FT046A	80		8970
47	FT101A	8		7738
48	FT048A	69		9072
49	FT049A	25		5830
50	FT050A	77		5649
51	FT051A	74		7398
52	FT052A	81		6877
53	FT053A	13		5765
54	FT054A	38		5834
55	FT055A	72		7478
56	FT056A	52		8873
57	FT057A	95		8906
58	FT058A	27		8578
59	FT059A	88		8803
60	FT060A	26		6188
61	FT061A	79		6248
62	FT062A	68		6324
63	FT063A	64		5984
64	FT064A	75		8049
65	FT065A	84		6367
66	FT066A	89		9633
67	FT094A	82		8208
68	FT068A	78		6852
69	FT069A	90		8250
70	FT070A	91		6830
71	FT071A	63		6495
72	FT072A	58		7582
73	FT073A	44		7073
74	FT074A	94		6385
75	FT075A	42		6698
76	FT076A	61		6500
77	FT077A	76		6849
78	FT078A	60		6547
79	FT079A	67		6192
80	FT080A	46		6936
81	FT081A	21		6432
82	FT082A	37		8860
83	FT083A	45		6809
84	FT084A	39		7661
85	FT085A	40		8257
86	FT086A	59		5584
87	FT087A	66		9045
88	FT088A	86		9152
89	FT089A	71		6028
90	FT090A	22		6446
91	FT091A	87		7812
92	FT092A	65		5395

22	FT047B	73		6167
28	FT026A	10		4643
91	FT093A	57		6115

## Fibre delays NEW 2019
Channel	OLD fibre delay	NEW fibre delay	diff		Gaussian	Mean
1	19.25	19.750271	-0.500271000000001		322.9	322.944201		Differences between 2 measurements			NEW		PLUS DIFF
2	17	17.866683	-0.866682999999998		324.8	324.827789		72.678674259			59	259.738638749	332.446024569
3	21.5	22.466878	-0.966878000000001		320.2	320.227594		72.533766666			71	259.517804238	332.225190058
4	19	20.007306	-1.007306		322.6	322.687166		72.582051868			84	255.067170535	327.774556355
5	18.5	11.512703	6.987297		331.1	331.181769		72.834380625			100	260.057822402	332.765208222
6	15.5	16.628281	-1.128281		326	326.066191		72.580123582
7	18.25	19.279369	-1.029369		323.4	323.415103		73.089222999
8	20.25	20.668046	-0.418046		322	322.026426		72.038350636
9	17.25	17.8794954	-0.6294954		324.8	324.814976555		72.955318988
10	17.25	19.402843	-2.152843		323.3	323.291629		72.602824715
11	17.5	17.511956	-0.011956000000001		325.1	325.182516		72.777721029
12	17.75	12.720809	5.029191		329.9	329.973663		72.467910867
13	12.5	12.748343	-0.248343		329.9	329.946129		73.242328702
14	16.5	16.541403	-0.041402999999999		326.1	326.153069		72.813340664
15	17.75	18.0485866	-0.2985866		324.6	324.645885427		avg	72.70738582
16	7.5	8.5917841	-1.0917841		334.1	334.102687943
17	14.75	15.299961	-0.549961		327.4	327.394511
18	8.25	8.9673608	-0.7173608		333.7	333.727111229
19	17.5	17.330378	0.169622		325.3	325.364094
20	20.5	20.604509	-0.104509		322	322.089963
21	12.5	13.095391	-0.595390999999999		329.5	329.599081
22	14	14.451265	-0.451264999999999		328.2	328.243207
23	20.75	21.320416	-0.570416000000002		321.3	321.374056
24	19	19.163809	-0.163809000000001		323.5	323.530663
25	18.5	19.996383	-1.496383		322.6	322.698089
26	18.5	19.252528	-0.752528000000002		323.4	323.441944
27	17	17.763448	-0.763448		324.9	324.931024
28	15.25	15.444679	-0.194679000000001		327.2	327.249793
29	18	18.192428	-0.192428		324.5	324.502044
30	17.75	17.584646	0.165354000000001		325	325.109826
31	15	14.880763	0.119237		327.8	327.813709
32	14.25	14.037378	0.212622		328.6	328.657094
33	10.75	11.145302	-0.395301999999999		331.5	331.54917
34	14.75	15.145976	-0.395975999999999		327.5	327.548496
35	16.5	16.560008	-0.060008		326.1	326.134464
36	13.75	17.712795	-3.962795		325	324.981677
37	17	17.011265	-0.011265000000002		325.6	325.683207
38	15.5	15.842764	-0.342764000000001		326.8	326.851708
39	17	17.306042	-0.306042000000001		325.4	325.38843
40	0	0	0		342.7	342.694472
41	17.5	17.56436	-0.064360000000001		325.1	325.130112
42	15.75	15.618559	0.131441000000001		327	327.075913
43	12.75	11.409918	1.340082		331.2	331.284554
44	13	12.412895	0.587104999999999		330.2	330.281577
45	13.75	13.379523	0.370476999999999		329.3	329.314949
46	9.75	9.712209	0.037791		332.9	332.982263
47	17	16.902663	0.097337		325.8	325.791809
48	14.5	14.015853	0.484147		328.6	328.678619
49	5.75	6.854192	-1.104192		335.8	335.84028
50	17.75	15.130155	2.619845		327.5	327.564317
51	14	15.02904	-1.02904		327.6	327.665432
52	9.5	10.246737	-0.746737		332.4	332.447735
53	13	13.223892	-0.223891999999999		329.4	329.47058
54	19	19.693068	-0.693068		323	323.001404
55	15	15.515796	-0.515796		327.2	327.178676
56	15.5	16.291082	-0.791081999999999		326.3	326.40339
57	17.5	18.993485	-1.493485		323.6	323.700987
58	17	14.62168	2.37832		328	328.072792
59	12.25	10.2484474	2.0015526			332.446024564385
60	8.5	6.201152	2.298848		336.4	336.49332
61	18.5	16.394596	2.105404		326.3	326.299876
62	19.75	17.337142	2.412858		325.3	325.35733
63	11.75	9.433684	2.316316		333.2	333.260788
64	20.25	18.009914	2.240086		324.6	324.684558
65	24.25	22.259949	1.990051		320.4	320.434523
66	22.5	19.614074	2.885926		323	323.080398
67	16.25	13.620212	2.629788		329.1	329.07426
68	18.5	15.956073	2.543927		326.7	326.738399
69	20.5	17.91051	2.58949		324.7	324.783962
70	18.5	15.795299	2.704701		326.9	326.899173
71	12	10.4692819	1.5307181			332.225190053385
72	18.25	15.387444	2.862556		327.3	327.307028
73	13.75	18.206532	-4.456532		324.4	324.48794
74	20	17.300828	2.699172		325.4	325.393644
75	17.75	14.746569	3.003431		327.9	327.947903
76	16	12.943047	3.056953		329.7	329.751425
77	19.25	16.911962	2.338038		325.8	325.78251
78	18.25	15.159221	3.090779		327.5	327.535251
79	21.5	15.157342	6.342658		327.5	327.53713
80	21.25	18.740882	2.509118		323.9	323.95359
81	22.5	19.773213	2.726787		322.8	322.921259
82	3.25	0.77215	2.47785		341.9	341.922322
83	19	16.218203	2.781797		326.4	326.476269
84	17.75	14.9199156	2.8300844			327.774556350385
85	18	14.490169	3.509831		328.1	328.204303
86	20.5	17.081631	3.418369		325.6	325.612841
87	17.75	14.5185	3.2315		328.2	328.175972
88	17.5	16.571275	0.928725		326.1	326.123197
89	22.5	21.173888	1.326112		321.5	321.520584
90	12.25	11.059547	1.190453		331.6	331.634925
91	16.75	13.208237	3.541763		329.4	329.486235
92	13.5	12.249466	1.250534		330.4	330.445006
93	18.75	17.726788	1.023212		324.9	324.967684
94	11.5	10.468307	1.031693		332.4	332.226165
95	21	19.535349	1.464651		323.1	323.159123
96	Loop-back
97		15.085094			327.5	327.609378
98		1.669834			341	341.024638
99		9.664982			333	333.02949
100		9.9292638				332.765208217385
101		14.559196			328.1	328.135276
102		20.901841			321.8	321.792631
103		16.490564			326.2	326.203908
104		16.988625			325.7	325.705847

## Fibre delays measurement
CHANNEL	IPW	FILE
1	7200	001
2	5450	002
3	6900	003
4	5300	004
5	5700	005
6	5100	006
7	4500	007
8	6000	008
9	6300	009
10	7900	010
11	5000	011
12	4000	012
13	5000	013
14	6600	014
15	6900	015
16	5900	016
17	6300	017
18	6200	018
19	6300	019
20	7100	020
21	5700	021
22	5400	022
23	6700	023
24	5700	024
25	5430	025
26	5100	026
27	7350	027
28	6620	029
29	6000	030
30	7100	031
31	5000	032
32	9470	033
33	4450	034
34	5000	035
35	5720	036
36	7100	037
37	7310	038
38	4800	039
39	6400	040
40	6800	041
41	7400	042
42	5400	043
43	4750	044
44	6000	045
45	5500	046
46	5800	047
47	6650	048
48	5300	049
49	5800	050
50	5000	051
51	6000	052
52	7540	053
53	5230	054
54	6600	055
55	6700	056
56	5900	057
57	7700	058
58	6400	059
59	broken
60	4800	060
61	5500	061
62	6300	062
63	5500	063
64	5100	064
65	4400	065
66	7300	066
67	5000	067
68	4950	068
69	7300	069
70	4500	070
71	broken
72	6350	071
73	6000	072
74	6200	073
75	6700	074
76	5500	075
77	4750	076
78	5600	077
79	5300	078
80	7350	079
81	5400	080
82	6000	081
83	4300	082
84	broken
85	5500	083
86	7000	084
87	5800	085
88	7500	086
89	7400	087
90	6900	088
91	5550	089
92	4800	090
93	6500	091
94	5000	092
95	7000	093
96	loop-back
97	5600	094
98	4700	095
99	7200	096
100	broken
101	5850	097
102	5150	098
103	4800	099
104	5000	100

## HW_CHANGE_2019
RUN	FIBRE	CHANNEL	sigma	mean			MOVE to	BOX			NEW IPW	stability
201388	1	12	8.7	41.2	0.21	OK	10	2	2		3830	~3 jitter
201462	35	5	10.1	39	0.26	OK	73	1	10		5400	~1 jitter
201411	12	50	10.7	42.4	0.25	OK ?	57	7	8		4900	~2 jitter
201546	70	91	10.3	40.8	0.25	SWITCH		12			5500	~2 jitter
201613	101	8	11.5	45.5	0.25	SWITCH		1			5650	~2 jitter	PIN BAD
201611	34	29	9.1	38.6	0.24	SWITCH		4			5700	~2 jitter
201526	61	79	23.2	67.6	0.34	SWITCH		10			5280	~2 jitter
									fibre	channel
									26	10	7550
changed	25	80	103						47	73	5850
									93	57	7600
box	chan	#	REMOVED	PIN calib				checking trig_delay	83	45	5300
1	8	S/N 100	8
1	5	S/N 019		not saturatable
10	73	5		not saturatable
10	79	9	S/N 078	not saturatable
2	12	S/N 043		not saturatable
2	10	S/N 014		not saturatable
4	29	10	S/N 035	not saturatable
12	91	S/N 099	S/N 091	not saturatable
7	50	S/N 123		not saturatable
8	57	S/N 077		perfect

## TELLIE PCA - Mar 2019
Aim: Collect PCA dataset (35-45 nHit), / running in SLAVE MODE					Rate [Hz]	#pulses	Delay [ns]	Detector status
					1000	200000	900	17 open relays
Node	Fibre	Channel	Run	IPW	EXTA-nhit	Tuning	Last PCA	Shifter Comments	Nearline Comments
1	FT001A	12	204401	3830	39	4000	8650	<-- it seems the optimal IPW has shifted massively	Martti's PR has not yet been merged & updated on nlag
2	FT002A	19	204403	5900	38	6300	7542	the tuning runs from yesterday have more appropriate setpoints
3	FT003A	35	204409	5330	37	5720	7317	retook run since it drifted up to 57 the first time, now stable
4	FT004A	55	204411	6500	40	6700	8032
5	FT005A	15	204413	6400	38	6900	8210
6	FT006A	14	204415	5920	40	6600	8150
7	FT007A	23	204418	6450	42	6700	7800	can confirm the high intensity spikes at the beginning of runs	nearline failed, run values not pushed to CouchDB?!
8	FT008A	9	204420	6010	36	6300	7317
9	FT009A	3	204423	6350	39	6100	8263
10	FT010A	17	204425	6000	36	6300	7125
11	FT011A	24	204429	4550	---	5700	7173	unstable channel (10-90 nhit)	passes NHit stability check (but shouldn't)
12	FT012A	50	204431	4900	37	5000	8810
13	FT013A	47	204437	6300	---	6650	8200	unstable channel (20-50 nhit)	passes NHit stability check (but shouldn't)
14	FT014A	33	204439	4260	35	4480	4908
15	FT015A	4	204441	4820	37	5300	6200
16	FT016A	11	204442	4600	35	5000	5870	stable channel, but forgot to remove "tuning run" bit	fails NHit stability check - possibly due to tuning runs being included
17	FT017A	32	204444	9080	38	9470	10833
18	FT018A	48	204446	5150	38	5300	6192
19	FT019A	6	204448	4800	45	5100	6076
20	FT020A	20	204450	6666	40	7100	8788
21	FT021A	2	204452	4780	39	5450	6350	intensity shifted (37-45 nhit), but ok	passes PCA processor
22	FT022A	34	204454	4780	39	5000	6115
23	FT023A	16	204456	5340	42	5900	6427
24	FT024A	31	204460	4666	40	5000	6236	intensity shifted (40-48 nhit), but ok	passes PCA processor
25	FT025A	56	204462	5700	41	6700	6950
26	FT028A	36	204464	6770	43	7100	8730
27	FT027A	18	204467	5760	48	6200	7092	intensity shifted (40-50 nhit), too high? check processor	passes PCA processor
28	FT067A	83	204469	4200	42	4300	5820
29	FT029A	7	204471	4080	45	4500	5962	intensity shifted (40-50 nhit), too high? check processor	passes PCA processor
30	FT030A	49	204473	5620	40	5800	6592
31	FT031A	1	204475	6740	37	7200	8225
32	FT032A	53	204477	5050	40	5230	6407
33	FT033A	43	204479	4360	42	4750	6045
34	FT034A	29	204481	5640	38	6000	9335
35	FT035A	5	204483	5360	41	5700	7185
36	FT036A	54	204485	6340	40	6600	8058
37	FT037A	30	204487	6820	42	7100	8324
38	FT038A	41	204489	7050	44	7400	8964
39	FT039A	85	204491	5440	39	5500	6908
40	FT040A	51	204493	5850	40	6000	7065
41	FT041A	93	204495	6690	40	6500	8100
42	FT042A	28	204497	6320	42	6620	7618
43	FT043A	92	204499	4800	39	4800	5844
44	FT044A	70	204501	4470	40	4500	5793
45	FT045A	62	204503	6100	37	6300	8113
46	FT046A	80	204505	7300	40	7350	8970
47	FT101A	8	204507	5600	42	6000	7738
48	FT048A	69	204509	7150	41	7300	9072
49	FT049A	25	204511	5140	39	5430	5830	Michal taking over from Martti here
50	FT050A	77	204513	4695	40	4750	5649
51	FT051A	74	204515	6160	35	6200	7398
52	FT052A	81	204517	5305	39	5400	6877
53	FT053A	13	204519	4720	35	5000	5765
54	FT054A	38	204521	4665	38	4800	5834
55	FT055A	72	204523	6228	37	6350	7478
56	FT056A	52	204525	7290	36	7540	8873
57	FT057A	95	204527	6745	40	7000	8906
58	FT058A	27	204529	6855	40	7350	8578
59	FT059A	88	204531	7398	38	7500	8803
60	FT060A	26	204533	4770	40	5100	6188
61	FT061A	79	204535	5254	36	5300	6248
62	FT062A	68	204537	4795	40	4950	6324
63	FT063A	64	204541	4830	36	5100	5984	hmm, unstable. tuned to some ipw -> gave 40. tried to run pca run -> gave 7. tried to tune again (same ipw) -> gave 200 :/ seem to have the `mode` behaviour, but once stuck in a mode it fires stable(ish)
64	FT064A	75	204543	6697	38	6700	8049
65	FT065A	84				broken?	6367	confirmed broken, no light at IPW=0
66	FT066A	89	204545	7238	38	7400	9633
67	FT094A	82	204547	6176	39	6000	8208
68	FT068A	78	204549	5540	39	5600	6852
69	FT069A	90	204551	6897	40	6900	8250
70	FT070A	91	204553	5482	39	5550	6830
71	FT071A	63	204555	5322	40	5500	6495	stable channel, reflected light is very wide	fails NHit stability check (but shouldn't)
72	FT072A	58	204557	6336	40	6400	7582
73	FT073A	44	204559	5827	38	4000	7073
74	FT074A	94	204561	4960	42	5000	6385
75	FT075A	42	204563	5128	40	5400	6698
76	FT076A	61	204565	5311	41	5500	6500	somewhat weird shape at xsnoed
77	FT077A	76	204567	5390	40	5500	6849
78	FT078A	60	204569	4740	30-47	4800	6547	unstable, NHit drifts between 30 and 47	also, has a big gap in the middle, not only on stream but also sound - good to check this one for pulse delay stability	tried to retake, couldn't get any better results
79	FT079A	67	204571	4824	38	5000	6192
80	FT080A	46	204573	5571	40	5800	6936
81	FT081A	21	204575	5405	40	5700	6432
82	FT082A	37	204577	6850	40	7310	8860
83	FT083A	45	204579	5265	39	5500	6809
84	FT084A	39	204581	6137	40	6400	7661
85	FT085A	40	204583	6463	43	6800	8257
86	FT086A	59				broken?	5584	confirmed broken, no light at IPW=0
87	FT087A	66	204585	7050	42	7300	9045
88	FT088A	86	204601	6765	39	7000	9152	retaken due to spikes in nhit, latter run much better (old was 204587)
89	FT089A	71				broken?	6028	confirmed broken, no light at IPW=0
90	FT090A	22	204589	4992	38	5400	6446
91	FT091A	87	204605	5530	40	5800	7812	retaken due to spikes in nhit, latter run slightly better (old was 204591)	not a great fibre, lot of hits on pmts all around
92	FT092A	65	204593	4257	38	4400	5395

22	FT047B	73	204595	5808	38	6000	6167
28	FT026A	10	204597	7508	37	7900	4643
91	FT093A	57	204599	7555	39	7700	6115

## TELLIE PCA - Dec 2018
Aim: Collect PCA dataset (42 nHit), / running in SLAVE MODE					Pulse rate [Hz]	Pulse number	Trigger delay [ns]
					1000	200000	900
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Detector status	Shifter Comments	Nearline Comments
1	FT001A	12	201388	8650	44
2	FT002A	19	201390	7542	42
3	FT003A	35	201392	7317	41
4	FT004A	55	201394	8032	42
5	FT005A	15	201396	8210	40		slight drop in nhit for last 1/3 of run
6	FT006A	14	201398	8150	42
7	FT007A	23	201401	7800	42
8	FT008A	9	201403	7317	42
9	FT009A	3	201405	8263	40
10	FT010A	17	201407	7125	43
11	FT011A	24	201409	7173	42
12	FT012A	50	201411	8810	43		unstable
13	FT013A	47	201413	8200	44
14	FT014A	33	201415	4908	42
15	FT015A	4	201417	6200	41
16	FT016A	11	201419	5870	42
17	FT017A	32	201421	10833	39
18	FT018A	48	201423	6192	43
19	FT019A	6	201425	6076	42
20	FT020A	20	201427	8788	43
21	FT021A	2	201432	6350	43
22	FT022A	34	201434	6115	42
23	FT023A	16	201436	6427	40
24	FT024A	31	201438	6236	43
25	FT025A	56	201440	6950	42
26	FT028A	36	201442	8730	41
27	FT027A	18	201444	7092	41
28	FT067A	83	201446	5820	40
29	FT029A	7	201448	5962	43
30	FT030A	49	201450	6592	43
31	FT031A	1	201452	8225	39
32	FT032A	53	201454	6407	42
33	FT033A	43	201456	6045	44
34	FT034A	29	201611	9335	40		quite unstable, retaken few times
35	FT035A	5	201462	7185	38		naah
36	FT036A	54	201464	8058	42
37	FT037A	30	201466	8324	44
38	FT038A	41	201468	8964	43		good boi
39	FT039A	85	201470	6908	44
40	FT040A	51	201473	7065	43
41	FT041A	93	201475	8100	41
42	FT042A	28	201477	7618	42
43	FT043A	92	201479	5844	43
44	FT044A	70	201481	5793	43
45	FT045A	62	201483	8113	43
46	FT046A	80	201602	8970	40		biiiig beam spot, very unstable fibre, retaken several times, big nhit fluctuations (10-60)
47	FT101A	8	201613	7738	48		also big beam spot, unstable nhit
48	FT048A	69	201493	9072	41
49	FT049A	25	201606	5830	50		worst fiber, MASSIVE nhit fluctuations, pretty much uncorrelated to ipw settings
50	FT050A	77	201504	5649	45
51	FT051A	74	201506	7398	44
52	FT052A	81	201508	6877	43
53	FT053A	13	201510	5765	42
54	FT054A	38	201512	5834	42		weird beam spot but stable
55	FT055A	72	201514	7478	43
56	FT056A	52	201516	8873	40
57	FT057A	95	201518	8906	42
58	FT058A	27	201520	8578	42
59	FT059A	88	201522	8803	41
60	FT060A	26	201524	6188	43
61	FT061A	79	201526	6248	60		nhit fluctuates but ok	not ok, subruns 17-21 have 90+ nhit!
62	FT062A	68	201528	6324	42
63	FT063A	64	201530	5984	43
64	FT064A	75	201532	8049	44
65	FT065A	84	201534	6367	42
66	FT066A	89	201538	9633	42
67	FT094A	82	201540	8208	43
68	FT068A	78	201542	6852	43
69	FT069A	90	201544	8250	41
70	FT070A	91	201546	6830	39
71	FT071A	63	201548	6495	44
72	FT072A	58	201550	7582	41
73	FT073A	44	201552	7073	44
74	FT074A	94	201554	6385	43
75	FT075A	42	201557	6698	40
76	FT076A	61	201559	6500	43		beam spot spread around most of detector but stable nhit
77	FT077A	76	201561	6849	42
78	FT078A	60	201617	6547	46		slightly unstable, neck fibre, retaken
79	FT079A	67	201565	6192	42		nice neck fibre (may be interesting for part scint fill)
80	FT080A	46	201567	6936	43
81	FT081A	21	201569	6432	44
82	FT082A	37	201571	8860	41
83	FT083A	45	201573	6809	42		really early in event window (peak @1400 TDC)	trigger_delay seems ok - weird!
84	FT084A	39	201575	7661	43
85	FT085A	40	201577	8257	43
86	FT086A	59	201579	5584	43
87	FT087A	66	201581	9045	41		another nice neck fibre
88	FT088A	86	201583	9152	41
89	FT089A	71	201585	6028	40
90	FT090A	22	201587	6446	41		another nice neck fibre
91	FT091A	87	201589	7812	42			does not agree with run number in "official" run list	Martti has no idea what he is talking about
92	FT092A	65	201591	5395	42			incomplete nhit information

22	FT047B	73	201620	6167	43		unstable, retaken
28	FT026A	10	201595	4643	42
91	FT093A	57	201597	6115	42

## TELLIE PCA - September 2018
Aim: Collect PCA dataset (~40 nHit), / running in SLAVE MODE					Pulse rate [Hz]	Pulse number	Trigger delay [ns]	FOR FUTURE PCA RUNNING: DO HOURLY CHECKS (INCL. CHECK_RATES) EVERY 10 FIBRES!
					1000	200000	900	Martti started PCA on 06/09/2018, 16:45 at CRSU	LOW BASE CURRENTS IN CRATE 1 - CHECK DATA
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Detector status	Shifter Comments	Nearline Comments	Failed runs
1	FT001A	12	117790	8670	44	15 open relays	reran: NHit stable, good for PCA		117576
2	FT002A	19	117578	7545	42	14 open relays
3	FT003A	35	117580	7340	40
4	FT004A	55	117582	8040	41
5	FT005A	15	117584	8215	40		the "tuning run" option is really paying off, we burn through much less runs this way: it suppresses the run rollover after firing TELLIE (saves time)
6	FT006A	14	117586	8165	41
7	FT007A	23	117588	7815	39
8	FT008A	9	117590	7330	40
9	FT009A	3	117592	8270	41
10	FT010A	17	117594	7140	38			fails PCA processor, false alarm (nhit vs time looks fine)
11	FT011A	24	117598	7190	40
12	FT012A	50	117792	8820	39		reran: NHit slightly unstable still good enough for PCA though	could also use run 117794 (50 nhit)	117600
13	FT013A	47	117602	8230	40
14	FT014A	33	117604	4920	40
15	FT015A	4	117606	6220	41
16	FT016A	11	117608	5890	41
17	FT017A	32	117610	10900	38
18	FT018A	48	117612	6225	40
19	FT019A	6	117614	6090	40
20	FT020A	20	117616	8810	40
21	FT021A	2	117618	6390	41
22	FT022A	34	117620	6135	40
23	FT023A	16	117622	6450	36		slightly unstable (33-39), hence lower stats (probably fine)	passes PCA
24	FT024A	31	117624	6290	42		higher IPW than last time
25	FT025A	56	117626	6965	41
26	FT028A	36	117628	8740	43
27	FT027A	18	117630	7100	41
28	FT067A	83	117632	5845	40
29	FT029A	7	117634	5975	41
30	FT030A	49	117636	6600	39
31	FT031A	1	117638	8265	40
32	FT032A	53	117640	6420	41
33	FT033A	43	117642	6060	42
34	FT034A	29	117644	9350	40		slightly unstable (33-48), probably fine	passes PCA
35	FT035A	5	117646	7230	40		slightly unstable (33-44), probably fine	passes PCA
36	FT036A	54	117654	8080	41	15 open relays	DEB in 01/06/17, had to open relay and retake run	passes PCA
37	FT037A	30	117656	8380	44			fails PCA processor, false alarm (nhit vs time looks fine)
38	FT038A	41	117658	8980	44
39	FT039A	85	117660	6925	41
40	FT040A	51	117662	7075	44			fails PCA processor, false alarm (nhit vs time looks fine)
41	FT041A	93	117664	8120	42
42	FT042A	28	117666	7670	43
43	FT043A	92	117668	5860	42
44	FT044A	70	117670	5810	41
45	FT045A	62	117672	8110	43		Screwed up "tuning run" near end, caused 500 NHit peak	(Mark retook wrong fiber for run 117794)
46	FT046A	80	117779	9310	35		Reran PCA: NHit still all over the place	passes PCA	117676
47	FT101A	8	117782	7680	38		Reran PCA: NHit unstable. Probably good		117678
48	FT048A	69	117680	9100	40
49	FT049A	25	117784	5590	29		Reran PCA: NHit unstable. Probably good	passes PCA, low stats	117682
50	FT050A	77	117684	5675	39
51	FT051A	74	117686	7435	40
52	FT052A	81	117688	6900	39
53	FT053A	13	117690	5790	38
54	FT054A	38	117692	5855	42
55	FT055A	72	117694	7500	40
56	FT056A	52	117696	8885	37
57	FT057A	95	117698	8920	44
58	FT058A	27	117700	8635	44
59	FT059A	88	117702	8840	42
60	FT060A	26	117704	6250	45
61	FT061A	79	117786	6260	31		Reran PCA: NHit unstable. Probably good	passes PCA, low stats	117706
62	FT062A	68	117708	6345	42
63	FT063A	64	117788	5920	43		Reran PCA: NHit seems stable in this run good to use.	passes PCA	117710
64	FT064A	75	117712	8075	45
65	FT065A	84	117714	6385	45
66	FT066A	89	117716	9650	46
67	FT094A	82	117718	8225	43
68	FT068A	78	117720	6865	46
69	FT069A	90	117722	8265	44
70	FT070A	91	117724	6820	40		Accidentrly did two runs of this fibre 117726 is also using this fibre	use 117726 (higher nhit)
71	FT071A	63	117776	6495	45
72	FT072A	58	117728	7575	44			fails PCA processor, false alarm (nhit vs time looks fine)
73	FT073A	44	117730	7090	42
74	FT074A	94	117732	6395	42
75	FT075A	42	117734	6720	44
76	FT076A	61	117736	6500	43
77	FT077A	76	117738	7015	40
78	FT078A	60	117740	6500	44
79	FT079A	67	117742	6215	38
80	FT080A	46	117744	6960	40
81	FT081A	21	117746	6455	38
82	FT082A	37	117748	8870	43
83	FT083A	45	117750	6835	43
84	FT084A	39	117752	7690	39
85	FT085A	40	117754	8275	40
86	FT086A	59	117756	5590	43
87	FT087A	66	117758	9060	44	201559
88	FT088A	86	117760	9180	43		NHit droped from 43 to about 35 throughout run
89	FT089A	71	117762	6050	40
90	FT090A	22	117764	6455	44
91	FT091A	87	117766	7835	41
92	FT092A	65	117768	5420	44

22	FT047B	73	117770	6153	43		Slight fluctuation on the NHit went down to 37 then up to around 47
28	FT026A	10	117772	4665	43
91	FT093A	57	117774	6092	42

	note mapping
	rerun if time
	should rerun
	detector problem

## TELLIE PCA - June 2018
Aim: Collect PCA dataset (~42 nHit), / running in SLAVE MODE					Pulse rate [Hz]	Pulse number	Trigger delay [ns]
					1000	200000	900
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Detector status	Shifter Comments
1	FT001A	12	114670	8650	42		the EXTA-nhit row in stream reported decreasing nhit over the run, started at 42 and then slowly decreased to 33 over the subruns. Also big gaps between subruns with varied length
2	FT002A	19	114673	7540	41		TAC had quite assymetric shape, heavily skewed to left
3	FT003A	35	114675	7315	44		some high NHIT events :O Also bigger beam spot compared to previous fibres
4	FT004A	55	114677	8040	43
5	FT005A	15	114679	8205	42		some noticable fluctuations in nhit
6	FT006A	14	114681	8165	42
7	FT007A	23	114683	7800	43
8	FT008A	9	114685	7305	43
9	FT009A	3	114687	8265	43
10	FT010A	17	114689	7120	42
11	FT011A	24	114691	7175	43
12	FT012A	50	114693	8800	~43		holy moly what a fibre..... nhits fluctuates a LOT
13	FT013A	47	114695	8217	42
14	FT014A	33	114697	4900	43		quite wide beam spot, slightly unstable nhit
15	FT015A	4	114699	6210	42
16	FT016A	11	114701	5865	42
17	FT017A	32	114703	10860	42
18	FT018A	48	114705	6228	41
19	FT019A	6	114707	6085	42
20	FT020A	20	114709	8795	43
21	FT021A	2	114711	6385	42
22	FT022A	34	114713	6120	41
23	FT023A	16	114715	6443	40		nhit went down over subruns
24	FT024A	31	114717	6220	41
25	FT025A	56	114720	6965	44
26	FT028A	36	114722	8733	42		wrong mapping
27	FT027A	18	114724	7090	40
28	FT067A	83	114726	5830	40		mapping
29	FT029A	7	114728	5970	41		big drop in nhit (but recovered fast)
30	FT030A	49	114730	6585	43		slightly increasing nhit over time
31	FT031A	1	114732	8230	44
32	FT032A	53	114734	6413	42		visible drops in nhit :/
33	FT033A	43	114736	6060	42		belt shadow
34	FT034A	29	114738	9305	43		unstable nhit, ramping up slowly, then falls again
35	FT035A	5	114740	7218	38		*VERY* unstable nhit, better to rerun!!!
36	FT036A	54	114742	8075	42
37	FT037A	30	114744	8306	42		suprisingly small reflected beam spot
38	FT038A	41	114746	8980	42		strong shadows
39	FT039A	85	114748	6910	42		perfect belly plates
40	FT040A	51	114750	7075	42
41	FT041A	93	114752	8103	42		some high nhit lines throug beam spot ? (ropes ?)
42	FT042A	28	114754	7615	41		small drop to ~37 nhits towards the end
43	FT043A	92	114756	5845	43		quite wide beam spot with lot of shadows
44	FT044A	70	114787	5787	43		SECOND DAY
45	FT045A	62	114789	8093	42
46	FT046A	80	114794	9430	30		*VERY* unstable fibre (by far the worst). Huge NHit ranges. The NHIT drops over time, lowering IPW had almost no effect. Rerun if there is time
47	FT101A	8	114796	7739	41		as bad as 46. The same IPW produces 60 NHit in one run and then 22 in next :/
48	FT048A	69	114798	9065	44
49	FT049A	25	114800	5690	39		unstable fibre
50	FT050A	77	114802	5655	44
51	FT051A	74	114804	7400	43
52	FT052A	81	114806	6880	43
53	FT053A	13	114808	5772	41
54	FT054A	38	114810	5845	41
55	FT055A	72	114812	7478	42
56	FT056A	52	114817	8860	42		quite unstable during tuning, then the actual run went pretty stable
57	FT057A	95	114819	8917	43
58	FT058A	27	114821	8563	42
59	FT059A	88	114824	8833	39		slowly decreasing in NHit over time: 41->38
60	FT060A	26	114826	6173	42
61	FT061A	79	114828	6300	39		joke of a fibre
62	FT062A	68	114830	6327	41
63	FT063A	64	114832	5985	42
64	FT064A	75	114834	8044	43		nhit ramped up a bit
65	FT065A	84	114836	6372	41
66	FT066A	89	114851	9645	40	RACK 1 OFF
67	FT094A	82	114853	8212	41	RACK 1 OFF	might be affected my missing rack
68	FT068A	78	114855	6852	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected
69	FT069A	90	114857	8250	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected
70	FT070A	91	114859	6875	30	RACK 1 OFF	reflected beam spot missing due to rack off. direct unaffected. unstable fibre. The beam spot is extremely wide (covering 75% of the detector!). Nhit went down from 42 to 18 during the run.
71	FT071A	63	114861	6482	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected. Quite big gap between subruns (tubii issues)
72	FT072A	58	114863	7557	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected
73	FT073A	44	114865	7078	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected
74	FT074A	94	114867	6386	41	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected
75	FT075A	42	114888	6716	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected. THIRD DAY
76	FT076A	61	114890	6480	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected. Weird beam spot - very wide with no clear center.
77	FT077A	76	114892	6990	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected. Noticed that there are several offline PMTs at the center of the beamspot.
78	FT078A	60	114894	6445	32	RACK 1 OFF	the direct beamspot may be affected by the offline rack1. NHit drifts a lot.
79	FT079A	67	114896	6200	41	RACK 1 OFF	the direct beamspot may be affected by the offline rack1.
80	FT080A	46	114898	6939	42	RACK 1 OFF	the direct beamspot may be affected by the offline rack1.
81	FT081A	21	114900	6422	44	RACK 1 OFF	the direct beamspot may be affected by the offline rack1. NHit drifts.
82	FT082A	37	114902	8855	42	RACK 1 OFF	the direct beamspot may be affected by the offline rack1.
83	FT083A	45	114904	6797	42	RACK 1 OFF	the direct beamspot heavily affected by the offline rack1.
84	FT084A	39	114906	7660	42	RACK 1 OFF	the direct beamspot heavily affected by the offline rack1.
85	FT085A	40	114908	8239	41	RACK 1 OFF	the direct beamspot heavily affected by the offline rack1.
86	FT086A	59	114910	5566	41	RACK 1 OFF	the direct beamspot heavily affected by the offline rack1.
87	FT087A	66	114912	9035	42	RACK 1 OFF	the direct beamspot heavily affected by the offline rack1.
88	FT088A	86	114914	9125	42	RACK 1 OFF	the direct beamspot heavily affected by the offline rack1. Also somewhat unstable fibre.
89	FT089A	71	114916	6093	41	RACK 1 OFF
90	FT090A	22	114918	6438	41	RACK 1 OFF	the direct beamspot may be affected by the offline rack1.
91	FT091A	87	114920	7817	41	RACK 1 OFF	the direct beamspot may be affected by the offline rack1.
92	FT092A	65	114924	5395	42	RACK 1 OFF	reflected beam spot affected/missing due to rack off. direct unaffected

22	FT047B	73	114926	6153	39	RACK 1 OFF	the direct beamspot may be affected by the offline rack1. Unstable fibre.
28	FT026A	10	114929	4645	42	RACK 1 OFF
91	FT093A	57	114931	6092		RACK 1 OFF
	note mapping
	rerun if time					Rack 1 off counter:
	should rerun					30

RETAKING RUNS 10/07/2018		C. Grant	M. Nirkko
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Detector status	Shifter/Expert Comments
66	FT066A	89	115672	9645	39	stable, 31 open relays
67	FT094A	82	115674	8212	42
68	FT068A	78	115676	6852	41
69	FT069A	90	115678	8250	41
70	FT070A	91	115682	6800	48		nhit varies a bit (40-50)
71	FT071A	63	115684	6482	39
72	FT072A	58	115686	7557	39
73	FT073A	44	115688	7078	40
74	FT074A	94	115690	6386	42
75	FT075A	42	115692	6716	41
76	FT076A	61	115694	6480	42
77	FT077A	76	115696	6990	41
78	FT078A	60	115707	6475	55		nhit continuously increased until we stopped run at 70 nhit. retook run with lower setting. nhit increased from 37-59.
79	FT079A	67	115711	6195	41
80	FT080A	46	115713	6939	42
81	FT081A	21	115716	6425	44		nhit varies a bit (39-45)
82	FT082A	37	115718	8855	42
83	FT083A	45	115722	6830	44
84	FT084A	39	115725	7670	40
85	FT085A	40	115728	8239	42
86	FT086A	59	115730	5566	44
87	FT087A	66	115732	9035	43
88	FT088A	86	115738	9145	45		nhit varies a bit (37-47)
89	FT089A	71	115740	6093	40		nhit stable (40ish), then dropped to 18 in the last 10 seconds - not worth retaking the whole run
90	FT090A	22	115742	6438	44
91	FT091A	87	115744	7817	41
92	FT092A	65	115746	5395	43

22	FT047B	73	115749	6153	47		nhit varies a bit (45-50)
28	FT026A	10	115751	4645	46
91	FT093A	57	115753	6092	45		UG crew starts turning water recirculation back on at start of run

## TELLIE PCA - March 2018
Aim: Collect PCA dataset (~40 nHit), / running in SLAVE MODE					Pulse rate [Hz]	Pulse number	Trigger delay [ns]
					1000	200000	1000
Node	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Shifter Comments	Analysis comments	Prev. run?	Prev. IPW?	Prev. NHit?	Prev. shifter comments	Prev. analysis comments
1	FT001A	12	110264	8700	42	Martti starts PCA data taking (23/03/2018 18:45)
2	FT002A	19	110266	7540	43
3	FT003A	35	110268	7320	41
4	FT004A	55	110269	8030	44
5	FT005A	15	110282	8210	42
6	FT006A	14	110289	8190	41
7	FT007A	23	110293	7800	44
8	FT008A	9	110932	7300	43	bit choppy, but seems stable and has 40 subruns		110299	7310	44	run had not finished, had to retake	run did not finish
9	FT009A	3	110303	8260	45
10	FT010A	17	110309	7130	42
11	FT011A	24	110314	7180	40		TELLIE DQ processor stopped here
12	FT012A	50	110321	8790	43	fibre inherently unstable, giving up	passes PCA
13	FT013A	47	110329	8210	45
14	FT014A	33	110337	4910	44	low IPW
15	FT015A	4	110342	6210	43
16	FT016A	11	110347	5870	44
17	FT017A	32	110350	10870	42	high IPW
18	FT018A	48	110357	6220	44
19	FT019A	6	110363	6080	42
20	FT020A	20	110367	8800	41
21	FT021A	2	110372	6380	46	neck shadow (?)
22	FT022A	34	110376	6120	42
23	FT023A	16	110385	6450	41
24	FT024A	31	110392	6220	46
25	FT025A	56	110398	6960	44
26	FT028A	10	110413	8730	43		mapping incorrect (28)
27	FT027A	18	110407	7090	42
28	FT067A	83	110744	5825	43	long warmup	mapping incorrect (67)
29	FT029A	7	110415	5966	41
30	FT030A	49	110426	6590	42
31	FT031A	1	110430	8210	44
32	FT032A	53	110434	6410	45
33	FT033A	43	110440	6060	43
34	FT034A	29	110964	9380	42	stable (40-43) after about 5 min of running		110451	9360	50	nhit unstable (20-65)	unstable nhit, retake run
35	FT035A	5	110972	7270	43	stable (41-45) after about 2 min of running		110460	7275	40	unstable nhit	unstable nhit, retake run
36	FT036A	54	110468	8075	42	Ben L starts shifting (23/03/2018 23:45)
37	FT037A	30	110477	8320	42
38	FT038A	41	110481	8975	45
39	FT039A	85	110487	6920	42		fails PCA (unstable nhit) for no reason?
40	FT040A	51	110496	7075	43		older version of ORCA from here on?
41	FT041A	93	110501	8110	43
42	FT042A	28	110507	7630	40
43	FT043A	92	110510	5855	43
44	FT044A	70	110516	5795	43
45	FT045A	62	110520	8110	41
46	FT046A	80	110997	9488	38	fibre inherently unstable, giving up	passes PCA	110541	9630	20-50	nhit was all over the place	run did not finish, fails PCA
47	FT101A	8	111022	7739	46	fibre inherently unstable, giving up	passes PCA	110567	7730	30-70	about as bad as #46	unstable nhit, too high occupancy
48	FT048A	69	110587	9070	43	nhit hovered between 41-45
49	FT049A	25	111033	5705	47	fibre inherently unstable, giving up	passes PCA	110602	5720	30-70	long warmup, then unstable	run did not finish, fails PCA
50	FT050A	77	110608	5665	44
51	FT051A	74	110614	7415	41
52	FT052A	81	110619	6875	43
53	FT053A	13	110625	5772	42
54	FT054A	38	110637	5845	40
55	FT055A	72	110645	7485	42	Initial IPW was near 500nhit
56	FT056A	52	110650	8945	42
57	FT057A	95	110660	8922	43	IPW has sharp turn-on
58	FT058A	27	110666	8560	44	Drifted up ~2 nhit over run
59	FT059A	88	110671	8840	41
60	FT060A	26	111036	6180	42	stable run!		110680	6152	40-60	Very unstable nhit - maybe stablilized at 60	unstable nhit, retake run
61	FT061A	79	111042	6300	41	fibre inherently unstable, giving up	passes PCA	110690	6300	30-60	Worst stability so far, also breakdown crate 2	unstable nhit, retake run
62	FT062A	68	110700	6333	42		Open relays 24 => 25 from here on
63	FT063A	64	111044	5925	40	fibre inherently unstable, giving up	passes PCA	110719	5925	40-60	nhit choppy and drifting	unstable nhit, retake run
64	FT064A	75	110725	8055	43
65	FT065A	84	110731	6380	41
66	FT066A	89	110736	9633	44
67	FT094A	82	110751	8217	40	Initial IPW ~500 nhits
68	FT068A	78	110757	6865	42
69	FT069A	90	110762	8255	43
70	FT070A	91	110768	6830	44
71	FT071A	63	110773	6490	43
72	FT072A	58	110777	7565	43
73	FT073A	44	110781	7075	45
74	FT074A	94	110785	6395	42
75	FT075A	42	110793	6720	41
76	FT076A	61	110796	6500	39	Strange optics in xsnoed	PCA reprocessed, looks ok
77	FT077A	76	110800	7000	43
78	FT078A	60	111050	6520	43	fibre somewhat unstable, good enough		110820	6410	40-50	nhit drifting frustratingly slowly	PCA not processed
79	FT079A	67	110823	6200	43	Initial IPW ~560 nhit
80	FT080A	46	110833	6947	40
81	FT081A	21	110841	6450	39	nhit drifts slowly, probably fine though
82	FT082A	37	110847	8855	44
83	FT083A	45	110854	6830	44
84	FT084A	39	110858	7662	44
85	FT085A	40	110865	8253	43
86	FT086A	59	110872	5575	43
87	FT087A	66	110878	9040	44
88	FT088A	86	111058	9050	47	nhit drifts slowly, should be fine		110886	8907	40-120	nhit drifts slowly, then jumps around, gave up	run did not finish, fails PCA
89	FT089A	71	110891	6105	41
90	FT090A	22	110896	6450	42
91	FT091A	87	110902	7830	41
92	FT092A	65	110910	5405	43	Ben L finishes PCA data taking (24/03/2018 07:25)
BKUP	Fibre name	Channel	Run number	Pulse width	EXTA-nhit	Shifter Comments	Analysis comments
22	FT047B	73	110578	6175	46	Initial IPW was quite low (400 nhit)	mapping incorrect (47)
28	FT026A	36	110403	4660	44	low IPW	mapping incorrect (28)
91	FT093A	57	110905	6100	43		mapping seems fine

Fibres with old ORCA running:			30	(possibly old Slave mode)

## Master Mode (1 kHz) - June 2017
Aim: Collect PCA dataset (~30-40 nHit) running in MASTER MODE (1kHz)					Pulse height	Fibre delay [ns]	Pulse number	Trigger delay [ns]
					from "auto-fill"	from "auto-fill"	200000	650			100k pulses (old runs)
Node	Fibre name	TELLIE channel No.	Run number	IPW setting	Photons / pulse	Average Nhit	Shift Comments	Analysis comments			Fibre name	Run number	IPW setting	Average Nhit
1	FT001A	12	102260	8400	56223	34.67	DCR activity				FT001A	100786	8523	36.31
2	FT002A	19	102264	7275	12202	35.66					FT002A	100801	7400	40.42
3	FT003A	35	102268	7000	28148	39.79					FT003A	100808	7213	25.36
4	FT004A	55	102161	7800	27926	40.18					FT004A	100813	7900	47.34
5	FT005A	15	102274	7925	23287	38.55	Large intensity dependence on rate				FT005A	100798	8100	31.57
6	FT006A	14	102278	7975	25726	31.99	DCR activity				FT006A	100816	8100	33.75
7	FT007A	23	102281	7500	162443	34.18					FT007A	101951	7625	35.3
8	FT008A	9	102286	7025	45898	32.19					FT008A	100821	7150	41.24
9	FT009A	3	102290	8000	18342	39.22					FT009A	100824	8100	53.75
10	FT010A	17	102165	6950	44849	39.02					FT010A	100827	6950	56.47
11	FT011A	24	102293	6975	20446	31.26					FT011A	100834	7050	44.82
12	FT012A	50	102296	8550	45918	25.83	unstable NHit (20-30)				FT012A	100838	8667	38.11
13	FT013A	47	102300	7975	24504	38.77					FT013A	100841	8140	38.4
14	FT014A	33	102304	4575	55251	32.99	unusually low IPW				FT014A	100851	4715	53
15	FT015A	4	102168	6000	14312	27.57					FT015A	100855	6050	55.6
16	FT016A	11	102306	5600	12444	30.56					FT016A	100859	5700	45.29
17	FT017A	32	102310	10700	20033	36.14	unusually high IPW				FT017A	100865	10870	29.63
18	FT018A	48	102313	6050	0	32.32		DB bug (photons)			FT018A	100869	6175	45.63
19	FT019A	6	102315	5850	64119	29.73					FT019A	100873	5950	44.94
20	FT020A	20	101374	8650	7190	37.89
21	FT021A	2	101381	6275	4141	35.07		significant scattering			Note that the optimal IPW settings for these fibres have dropped by 100-150 since the 100k runs (30 days earlier)
22	FT022A	34	101386	6000	28078	32.96
23	FT023A	16	101391	6400	18536	29.76
24	FT024A	31	101404	6075	19977	28.51
25	FT025A	56	101410	6850	15908	29.84
26	FT028A	36	101500	8600	9962	35.51
27	FT027A	18	101498	6950	28937	28.84
28	FT026A	10	101414	4475	41522	32.37	unusually low IPW
29	FT029A	7	101502	5850	4248	35.43
30	FT030A	49	101505	6500	31624	27.40
31	FT031A	1	101509	8150	9361	38.01	Had to increase IPW by a large amount to get down to PCA intensity from previous calibration. LRC went on deck during PCA run.
32	FT032A	53	101512	6325	43089	32.10
33	FT033A	43	101515	6000	41011	35.79
34	FT034A	29	101530	9350	13766	31.90	Re-took run (previously Slave mode), nhit unstable over time (dropped to 25, then recovered)
35	FT035A	5	101533	7125	18555	33.46	Re-took run (previously Slave mode), somewhat varying nhit (30-40)
36	FT036A	54	101528	7925	11906	39.44
37	FT037A	30	101537	8175	37204	28.95	Saw a high nhit at the first tuning pulse, stable ~30 afterwards
38	FT038A	41	101543	8925	15139	32.67
39	FT039A	85	101548	6800	4316	36.85
40	FT040A	51	101553	7000	25494	27.07	Setting based on earlier calibration (6800) gave way too high nhit (360)
41	FT041A	93	101558	7950	12795	27.51
42	FT042A	28	101560	7500	48291	29.50
43	FT043A	92	101564	5725	14108	38.78
44	FT044A	70	101567	5675	19498	30.89
45	FT045A	62	101570	7950	18773	34.62
46	FT046A	80	101579	9900	4520	27.57	NHit unstable during run (20-35)
47	FT101A	8	102157	7600	10804	33.58		backup for FT047A, unstable nhit
48	FT048A	69	101705	9000	6001	22.81
49	FT049A	25	101717	5650	73977	38.85	Fibre unstable, NHit varies from 25-60
50	FT050A	77	101721	5525	35262	34.81	Stable run!
51	FT051A	74	101726	7275	35829	32.91
52	FT052A	81	101730	6750	7899	29.79
53	FT053A	13	101735	5675	18551	27.19
54	FT054A	38	101740	5675	67096	31.23
55	FT055A	72	101745	7335	34963	31.92
56	FT056A	52	101749	8925	10846	32.76
57	FT057A	95	101756	8825	4224	32.15
58	FT058A	27	101759	8425	21503	35.90
59	FT059A	88	101763	8675	10819	34.51
60	FT060A	26	101771	5950	0	43.40		DB bug (photons)
61	FT061A	79	101774	6200	18531	40.94
62	FT062A	68	101780	6200	10722	41.45
63	FT063A	64	101787	5700	30799	24.33	First run (101784) unstable (NHit dropped from 33->8 at IPW=5825), re-took run at lower setting, saw better stability (NHit 20-30)
64	FT064A	75	101793	7875	38090	32.44
65	FT065A	84	101795	6250	8304	26.04
66	FT066A	89	101799	9500	5015	39.40
67	FT094A	82	101933	8100	6978	33.70	backup for FT067A which failed
68	FT068A	78	101806	6725	27876	39.84
69	FT069A	90	101809	8100	7975	36.23
70	FT070A	91	101811	6800	14015	27.49
71	FT071A	63	101815	6350	13649	41.19
72	FT072A	58	101819	7375	16426	40.20
73	FT073A	44	101822	7025	25633	38.28
74	FT074A	94	101824	6350	4648	27.67
75	FT075A	42	101827	6650	30178	32.46
76	FT076A	61	101831	6350	27709	33.76		significant scattering
77	FT077A	76	101834	6900	25504	30.98	Initial setting (6750) gave NHit 370
78	FT078A	60	101839	6450	21784	33.23	Initial setting (6100) gave NHit 320
79	FT079A	67	101842	6100	10137	31.75
80	FT080A	46	101845	6900	8777	33.62
81	FT081A	21	101849	6350	36977	38.94
82	FT082A	37	101852	8700	15470	42.30
83	FT083A	45	102178	6700	20296	38.66
84	FT084A	39	101889	7525	29321	29.16
85	FT085A	40	101892	8150	13653	35.43
86	FT086A	59	101895	5475	15848	42.48
87	FT087A	66	101898	8850	8795	42.66
88	FT088A	86	101903	9050	9995	26.51	150 nhit seen at start of run 101899, unstable nhit (20-35)
89	FT089A	71	101905	6000	7755	33.06
90	FT090A	22	101910	6325	16428	31.46
91	FT091A	87	101913	7700	5095	34.72	FT093A=backup
92	FT092A	65	101915	5300	5606	27.86
Backup fibres	Fibre name	TELLIE channel No.	Run number	IPW setting	Photons / pulse	Average Nhit	Shift Comments	Analysis comments
22	FT047A	73	101944	4500	232172	34.92	broken fibre (?)	significant scattering
28	FT067A	83	102183	5625	25219	40.4	backup for FT094A	FAILED (3x in total), average nhits/PMT too low, probably due to incorrect fibre position in RATDB (fixed now)
91	FT093A	57	101929	5925	19215	38.25	backup for FT091A

	Statistics	TELLIE channel No.	Run number	IPW setting	Photons / pulse	Average Nhit
	Average:	48.0	101830	7080	25288	33.8
	Deviation:	27.6	280	1252	30024	4.7
	Minimum:	1.0	101374	4475	0	22.8
	Maximum:	95.0	102315	10700	232172	43.4

## Calibration curves 2018
				Pulse rate [Hz]	Pulse number	Trigger delay [ns]	Day #1	Day #2	Day #3	Day #4
				1000	25000	600 (M) / 800 (S)	23/03/2018	25/03/2018	17/04/2018	10/07/2018
Node	Fibre name	Mode	IPW setting	Run number #1	EXTA-nhit #1	Comments	Run number #2	EXTA-nhit #2	Comments	Run number #3	EXTA-nhit #3	Comments	Run number #4	EXTA-nhit #4	Comments
10	FT010A	M	7000	110163	170	50k pulses	111087	140		111816	140		115754	130
		M	7050	110165	95	50k pulses	111088	79		111817	77		115755	72
		M	7100	110166	52	50k pulses	111089	40		111818	40		115756	36
		M	7150	110167	26	50k pulses	111090	19		111819	19		115757	17
		M	7200	110168	11	50k pulses	111091	8.9		111820	8.5		115758	7.9
		S	7000	110171	190		111092	160		111821	160	Sequence didn't finish before timeout.	115759	150
		S	7050	110172	120		111093	98		111822	95	Sequence didn't finish before timeout.	115760	85
		S	7100	110173	65		111094	52		111823	51	Sequence didn't finish before timeout.	115761	45
		S	7150	110174	32		111095	26		111824	24	Sequence didn't finish before timeout.	115762	22
		S	7200	110175	16		111096	12		111825	11	Sequence didn't finish before timeout.	115763	9.9
33	FT033A	M	5950	110180	140		111097	120		111826	120	Restarted server before this run	115764	110
		M	6000	110181	75		111098	64		111827	68		115765	60
		M	6050	110182	40		111099	32		111828	34		115766	30
		M	6100	110183	19		111100	16		111829	16		115767	14
		M	6150	110184	9.1		111101	6.8		111830	7	111831 run to check noise = 2.0 nhit	115768	6.4
		S	5950	110185	170		111102	140		111833	150	Sequence didn't finish before timeout.	115769	140
		S	6000	110186	95		111103	82		111834	83	Sequence didn't finish before timeout.	115770	78
		S	6050	110187	52		111104	44		111835	44	Sequence didn't finish before timeout.	115771	40
		S	6100	110188	25		111105	20		111837	21	Sequence didn't finish before timeout.	115772	19
		S	6150	110189	12		111106	9.4		111836	9.1	(Sequence seems fine.)	115773	8.6
48	FT048A	M	9000	110193	97		111107	86		111838	86		115775	85
		M	9050	110194	62		111108	53		111839	55		115776	55
		M	9100	110195	38		111109	31		111840	32		115777	32
		M	9150	110196	22		111110	18		111841	18		115778	18
		M	9200	110197	12		111111	9.7		111842	9.4		115779	9.7
		S	9000	110198	92		111112	78		111843	79	Sequence didn't finish before timeout.	115780	76
		S	9050	110199	56		111113	48		111845	49	Before this run, ORCA crashed, so it was restarted. Couldn't get standard run tables, had to reconfigure settings.	115781	46
		S	9100	110200	34		111114	28		111846	28	(Sequence seems fine from here on.)	115782	28
		S	9150	110201	19		111115	16		111847	16		115783	15
		S	9200	110202	11		111116	8.2		111848	8.2		115784	8.3
79	FT079A	M	6100	110204	150		111117	140		111849	150		115785	140
		M	6150	110205	90		111118	78		111850	88		115786	75
		M	6200	110206	46		111119	39		111851	45		115787	37
		M	6250	110207	21		111120	17		111852	19		115788	15
		M	6300	110208	8.5		111121	6.9		111853	7.7		115789	6.5
		S	6100	110209	150		111122	140		111854	150		115790	130
		S	6150	110210	91		111123	80		111855	88		115791	74
		S	6200	110211	47		111124	41		111856	45		115792	37
		S	6250	110212	21		111125	18		111857	20		115793	16
		S	6300	110213	8.8		111126	7.5		111858	8		115794	6.4
90	FT090A	M	6300	110216	170		111127	160		111859	160		115795	150
		M	6350	110217	110		111128	100		111860	100		115796	95
		M	6400	110218	69		111129	60		111861	60		115797	56
		M	6450	110219	40		111130	33		111862	33		115798	31
		M	6500	110220	20		111131	17		111863	17		115799	16
		S	6300	110221	200		111132	180		111864	180		115800	170
		S	6350	110222	130		111133	120		111865	120		115801	110
		S	6400	110223	82		111134	73		111866	72		115802	65
		S	6450	110224	47		111135	42		111867	41		115803	37
		S	6500	110225	26		111136	22		111868	22		115804	19
				well done ! :)

## Master Mode
Aim: Find the settings required at each node to generate PCA intensities (~50 nHit) running in MASTER MODE					Rate settings calculation
				Photons / pulse	8025
				Max Rate	130.8411215

Node	Fibre Name	TELLIE channel No.	Run number	IPW setting	Trigger Rate	Photons / pulse	Average Nhit	Shift Comments	Analysis comments
1	FT001A	12	17114	8523	20	45075	45.834
2	FT002A	19	17260	7368	100	8045	38.34
3	FT003A	35	17262	7213	65	16038	43.452
4	FT004A	55	17110	7799	30	28017	48.59
5	FT005A	15	17105	7871	35	27027	36.606
6	FT006A	14	17121	8071	50	20005	48.152
7	FT007A	23	17124-17137					Went up to 100000 photons no light seen in detector (PIN reading remained at low light level ~1200)
8	FT008A	9	17148	7072	25	40014	54.094	In run 17138 we saw a large tellie pulse NHit of 650. (17139-17140) Later runs at same settings we saw no light.
9	FT009A	3	17156	7811	37	28032	52.4
10	FT010A	17	17170	6848	20	45079	41.802
11	FT011A	24	17176	6951	45	22004	42.06
12	FT012A	50	17187	8667	20	36024	39.376	Freija noticed this channel was unstable over the run. We did 3 additional stability runs (17207,17208,17209)
13	FT013A	47	17191	8140	65	16010	30.44
14	FT014A	33	17206	4742	28	34592	32.414
15	FT015A	4	18142	6052	85	12003	41.262
16	FT016A	11	17218	5712	110	8025	47.33	Used previous PCA settings
17	FT017A	32	18145	10891	80	13036	42.31
18	FT018A	48					Tried to calibrate with 1 photon (Run 17225) Got a NHit of 965 :(
19	FT019A	6	17236	5903	15	59069	38.384
20	FT020A	20	17237	8465	55	16079	35.02
21	FT021A	2	17240	6334	100	2601	35.884
22	FT022A	34	17242	6020	40	26013	32.516
23	FT023A	16	17249	6346	49	21008	40.454	Run 17243 we saw a large NHit pulse produced by TELLIE. Large pulse was seen at (or very close to) start of run. Ran at same settings after did not see any similar behaviour.
24	FT024A	31	17254	6090	51	19031	29.51	Saw a large (100 Nhit pulse) in 17252. We have been running the channel in a previous run. Other large pulses happened when swapping channels.
25	FT025A	56	17258	6847	65	16041	41.202
26	FT026A	10	17277	4480	20	41014	30.586	High NHit event (~140) at start of run 17277
27	FT027A	18	17291	6907	30	33050	36.402
28	FT028A	36	17296	8506	74	14033	39.348
29	FT029A	7	17298	5785	100	6017	37.974	Run 17927 High NHit pulse near start of run (~700 Nhit)
30	FT030A	49	17315	6382	20	44030	39.602	Run 17300 High NHit pulse near start of run (~500 NHit)
31	FT031A	1	17321	7902	40	25040	34.44
32	FT032A	53	17332	6260	15	48039	33.71	Large NHit Event at start of run 17322 (~500 NHit)
33	FT033A	43	17345	5870	15	58143	34.414
34	FT034A	29	17494	9228	50	16001	56.342
35	FT035A	5	17502	7074	45	22050	68.97
36	FT036A	54	17508	7892	70	13009	62.786
37	FT037A	30	17519	8168	25	38043	58.95	Large NHit event seen at start of run (110 NHit) 17509 (Looks like light did come out of fibre FT037A)
38	FT038A	41	17527	8762	40	25071	44.012	NHit 70 event seen at start of run (17520)
39	FT039A	85	17530	6808	100	4019	50.156
40	FT040A	51	17548	6730	17	59110	77.098	Large NHit event 700 seen at start of run 17531 (I think the very first shot might be at the previous channels IPW)
41	FT041A	93	17555	7994	95	10024	48.266
42	FT042A	28	17573	7401	15	59072	100.396	Saw 128 NHit Event at start of run 17577
43	FT043A	92	17578	5742	80	12540	54.512
44	FT044A	70	17583	5640	45	22005	71.422	Large NHit event at start of run 17579
45	FT045A	62	17589	7878	45	23050	47.988
46	FT046A	80	17595	9650	75	14000	60.338	IPW was too low by 1000 due to typo (fixed)
47	FT047A	73					Went up to 100000 photons no light seen. (17604-17622) --> TRY CHANNEL 8 (FT101A)
48	FT048A	69	17626	8929	100	7013	85.268	500 NHit event at start of run 17623
49	FT049A	25					Went up to 100000 photons some light seen but not enough for PCA (17626-17643)
50	FT050A	77					Impossible to tune when moving from photon count 32146 to 32147 NHit goes from <50 to ~500 See runns (17669 and 17670)
51	FT051A	74	17681	7332	34	30009	61.456
52	FT052A	81	17688	6626	69	15057	39.304	1250 NHit event at start of run 17682
53	FT053A	13	17697	5732	70	14578	45.764	Saw 690 Nhit event at start of run 17691
54	FT054A	38	17713	5663	15	69072	53.818
55	FT055A	72	17722	7334	28	35014	55.368	700 NHit event at start of 17714
56	FT056A	52	17725	8921	90	10999	44.058
57	FT057A	95	17729	8602	100	10025	42.774
58	FT058A	27	17735	8379	40	24058	50.336
59	FT059A	88	17740	8691	100	10010	48.066
60	FT060A	26					Getting around 100 NHit with 1 photon (Run 17745)
61	FT061A	79	17751	6059	35	28054	55.848
62	FT062A	68	17754	6224	100	9055	56.318
63	FT063A	64	17761	5735	35	28071	46.58
64	FT064A	75	17773	7835	24	42074	62.982
65	FT065A	84	17776	6234	100	9014	47.798	800 NHit event at start of run 17774
66	FT066A	89	17779	9429	100	6502	52.51
67	FT067A	83	17788	5659	45	23042	60.82	400 NHit pulse at start of run 17780
68	FT068A	78	17800	6699	34	30027	51.854	575 Nhit event at start of run 17789
69	FT069A	90	18139	8139	100	6036	42.606
70	FT070A	91	17806	6784	69	15000	46.18
71	FT071A	63	17810	6421	100	10017	55.63	1000 NHit event at start of run 17807
72	FT072A	58	17814	7363	61	17033	50.004
73	FT073A	44	17819	7044	40	24061	54.926	2000 NHit event seen at start of run 178145
74	FT074A	94	18137	6329	100	5217	45.95
75	FT075A	42	17831	6565	25	39105	64.534
76	FT076A	61	17838	6436	34	28086	62.41
77	FT077A	76	17845	6754	29	35048	62.138
78	FT078A	60	17856	6007	16	65055	81.696
79	FT079A	67	18152	6134	100	8025	43.144
80	FT080A	46	18149	6835	90	11436	47.69
81	FT081A	21	17868	6411	34	30023	59.686
82	FT082A	37	17873	8534	40	25008	70.126	600 Nhit event run 17869
83	FT083A	45	17877	6706	59	20013	56.748
84	FT084A	39	17886	7489	29	33004	61.674
85	FT085A	40	17890	8077	56	18047	49.714
86	FT086A	59	17895	5451	54	18019	66.65
87	FT087A	66	17899	8737	69	15024	49.394
88	FT088A	86	17986	9153	100	7028	55.286
89	FT089A	71	17992	5991	100	7800.148	42.864
90	FT090A	22	18001	6178	38	27048	66.926
91	FT091A	87	18158	7645	100	7039	48.778
92	FT092A	65	18154	5278	100	6514	45.786

## Mini PCA settings
Settings used to generate the current (20/4/17) limited statistics PCA data set. These settings should be re-run once voltage set points have been updated

Node	Fibre name	Operation Mode	Photons / pulse	Trigger Rate	Trigger Delay	Number of pulses	Estimated run time (mins)	Average nHit
21	FT021A	MASTER	3000	340	650	1.00E+05	4.90	66.88
79	FT079A	MASTER	7000	140	650	1.00E+05	11.90	63.09
88	FT088A	MASTER	10000	100	650	1.00E+05	16.67	63.14
16	FT016A	MASTER	8000	120	650	1.00E+05	13.89	59.7
20	FT020A	MASTER	16000	55	650	1.00E+05	30.30	40.27
2	FT002A	MASTER	8000	120	650	1.00E+05	13.89	52.12
15	FT015A	MASTER	10000	100	650	1.00E+05	16.67	41.23
22	FT022A	MASTER	25000	40	650	1.00E+05	41.67	40.19
3	FT003A	MASTER	15000	50	650	1.00E+05	33.33	45.46
91	FT091A	MASTER	4000	125	650	1.00E+05	13.33	39.46
					196.55

21st April 2017 - Abandoned due to timing issues observed in the nearline
Node	Fibre name	Operation Mode	Photons / pulse	Trigger Rate	Trigger Delay	Number of pulses	Estimated run time (mins)	Average nHit	Run no.
21	FT021A	MASTER	3000	340	370	1.00E+05	4.90	51	16686
79	FT079A	MASTER	7000	140	370	1.00E+05	11.90	50	16687
					16.81
23rd April 2017
Node	Fibre name	Operation Mode	Photons / pulse	Trigger Rate	Trigger Delay	Number of pulses	Estimated run time (mins)	Average nHit	Run no.
21	FT021A	MASTER	3000	340	300	1.00E+05	4.90	53.65	16758
79	FT079A	MASTER	7000	140	300	1.00E+05	11.90	45.96	16756
88	FT088A	MASTER	10000	100	300	1.00E+05	16.67	51.87	16760
16	FT016A	MASTER	8000	110	300	1.00E+05	15.15	49.66	16786
20	FT020A	MASTER	16000	55	300	1.00E+05	30.30	37.17	16766
2	FT002A	MASTER	8000	110	300	1.00E+05	15.15	40.58	16788
15	FT015A	MASTER	10000	100	300	1.00E+05	16.67	34.54	16772
22	FT022A	MASTER	25000	40	300	1.00E+05	41.67	30.53	16774
3	FT003A	MASTER	15000	50	300	1.00E+05	33.33	32.63	16776
91	FT091A	MASTER	4000	125	300	1.00E+05	13.33	36.1	16780
					199.08

## 1KHz PCA Running (Master Mode)
Fibre Name
FT001A
FT002A
FT003A
FT004A
FT005A
FT006A
FT007A
FT008A
FT009A
FT010A
FT011A
FT012A
FT013A
FT014A
FT015A
FT016A
FT017A
FT018A
FT019A
FT020A	101374
FT021A	101381
FT022A	101386
FT023A	101391
FT024A
FT025A
FT026A
FT027A
FT028A
FT029A
FT030A
FT031A
FT032A
FT033A
FT034A
FT035A
FT036A
FT037A
FT038A
FT039A
FT040A
FT041A
FT042A
FT043A
FT044A
FT045A
FT046A
FT047A
FT048A
FT049A
FT050A
FT051A
FT052A
FT053A
FT054A
FT055A
FT056A
FT057A
FT058A
FT059A
FT060A
FT061A
FT062A
FT063A
FT064A
FT065A
FT066A
FT067A
FT068A
FT069A
FT070A
FT071A
FT072A
FT073A
FT074A
FT075A
FT076A
FT077A
FT078A
FT079A	100785
FT080A
FT081A
FT082A
FT083A
FT084A
FT085A
FT086A
FT087A
FT088A
FT089A
FT090A
FT091A
FT092A

## Master Mode PCA Runs (OLD TESTING RUNS)
\
Using Photon counts determined in master mode spreadsheet
Fibre Name	Run Number
FT001A
FT002A
FT003A
FT004A
FT005A
FT006A
FT007A
FT008A
FT009A
FT010A
FT011A
FT012A
FT013A
FT014A
FT015A	18143
FT016A
FT017A	18146
FT018A
FT019A
FT020A
FT021A
FT022A
FT023A
FT024A
FT025A
FT026A
FT027A
FT028A
FT029A	18069
FT030A
FT031A
FT032A
FT033A
FT034A
FT035A
FT036A
FT037A
FT038A
FT039A	18068
FT040A
FT041A	18070
FT042A
FT043A
FT044A
FT045A
FT046A
FT047A	18147
FT048A	18071
FT049A
FT050A
FT051A
FT052A
FT053A
FT054A
FT055A
FT056A	18072
FT057A	18073
FT058A
FT059A	18074
FT060A
FT061A
FT062A	18075
FT063A
FT064A
FT065A	18076
FT066A	18077
FT067A
FT068A
FT069A	18140
FT070A
FT071A	18078
FT072A
FT073A
FT074A	18138	18153
FT075A
FT076A
FT077A
FT078A
FT079A	18079	18153
FT080A	18150
FT081A
FT082A
FT083A
FT084A
FT085A
FT086A
FT087A
FT088A
FT089A
FT090A
FT091A
FT092A	18155